## Slide 1: What is Electrical Grid?
Interconnected network for delivering electricity.
Complicated Network.
Requires a great deal of real time monitoring.
Purpose Of Synchronization
To prevent abnormalities due to difference in two signals.
Conditions to meet before synchronizing:
  Equal Line Voltage
  Same Frequency
  Same Phase Sequence
  Equal phase angles
  And; similar waveform
  Why to study Synchronization?
  Main Reason is due to Dynamic Loading. It can cause supply current out of phase with supply current.

## Slide 2: Case Study: A grid Connected PV Module
Fig. Block diagram of 3-ф Grid Connection of a PV module

## Slide 3: DQ Axis Theory
The DQ transformations can be used to rotate the reference frames of AC waveforms such that they become DC signals
Conversion from abc to alpha-beta domain

## Slide 4: Connection of Inverter to Grid

## Slide 5: Phase Locked Loop Block and DQ Transformation

## Slide 6: Correction and Generation of Gate Pulses

## Slide 7: Simulation Results:
Inverter Output Voltage

## Slide 8: Frequency and Phase Angle Variation

## Slide 9: Synchronisation Time

## Slide 10: Gate Pulses Supplied to Inverter